## Sheet1
Republic of the Philippines | [7 empty] | WATER ANALYSIS LABORATORY
ZAMBOANGA CITY WATER DISTRICT | [7 empty] | Water Treatment Plant
Zamboanga City | [7 empty] | Pasonanca, Zamboanga City
|  |  |  | PASSED |  | FAILED |  | Tel no. (062) 957-4650
e-mail add: zcwdlaboratory@yahoo.com
FAILED | PASSED |  |  | REPORT OF ANALYSIS
Client | :
Source | : | [7 empty] | FILE # :
Location | : | [7 empty] | O.R. # :
Date Collected |  | : | [6 empty] | Date Submitted :
Date Analyzed |  | : | [6 empty] | Collected By :
PHYSICAL AND CHEMICAL ANALYSES
Parameter |  |  | Results | PNSDW |  | Remarks | METHOD OF ANALYSIS
pH |  |  |  | 6.5 - 8.5 |  | FAILED | Electrometric Method
Turbidity |  |  |  | 5 | NTU | PASSED | Turbidimetry
Color |  |  |  | 10 | TCU | PASSED | Platinum - Cobalt Standard Method
Iron |  |  |  | 1 | mg/L | PASSED | Colorimetry (Ferro Ver Method)
Chloride |  |  |  | 250 | mg/L | PASSED | Titration Method
Copper |  |  |  | 1 | mg/L | PASSED | Colorimetry (Bicinchoninate Method)
Chromium |  |  |  | 0.05 | mg/L | PASSED | Colorimetry (1,5 - Diphenylcarbohydrazide Method)
Manganese |  |  |  | 0.4 | mg/L | PASSED | Colorimetry (Periodate Oxidation Method)
Total Hardness |  |  |  | 300 | mg/L | PASSED | EDTA Titration Method
Sulfate |  |  |  | 250 | mg/L | PASSED | Colorimetry (Sulfa Ver 4 Method)
Nitrate |  |  |  | 50 | mg/L | PASSED | Colorimetry (Cadmium Reduction Method)
Nitrite |  |  |  | 3 | mg/L | PASSED | Colorimetry (Diazotization Method)
Total Dissolved Solids |  |  |  | 600 | mg/L | PASSED | Conductivity Method
REMARK(S) :
The results indicated in this report only pertain to the client's submitted water sample. Hence, this report shall not be used as an approval, disapproval and/or endorsement of any product from which the water sample was obtained.
*PNSDW= Philippine National Standards for Drinking Water (2017)
ANALYZED AND EXAMINED BY: | [5 empty] | CERTIFIED CORRECT:
Eric V. Salaritan
Quality Control Chief/OIC, WQD